## Spectrum properties
Saved on | 2021/03/16, 18:39:33
Python version | (3, 7, 9)
emgfit version | 0.3.7
lmfit version | 1.0.2
scipy version | 1.6.1
numpy version | 1.20.1
pandas version | 1.2.2
input_filename | /Users/zachary_hockenbery/BrunnerFiles/py_files/mrtof_stuff/TRC_76u/Sr76_2-20_055_clipped_1B_extmedian_onRb85_756T_clipped.txt
mass_number | 76
spectrum_comment | -
fit_model | emg22
red_chi_shape_cal | 0.79
fit_range_shape_cal | 0.005
determined_A_stat_emg | False
A_stat_emg | 0.52
A_stat_emg_error
peaks_with_errors_from_resampling | []
recal_fac | 1.000000485793763
rel_recal_error | 1.6643579615408805e-08
peaks_with_MC_PS_errors | []
blinded_peaks | []

## Peak properties
Peak index | x_pos | species | comment | A | z | m_AME | m_AME_error | extrapolated | fit_model | cost_func | red_chi | area | area_error | m_ion | rel_stat_error | rel_recal_error | rel_peakshape_error | rel_mass_error | atomic_ME_keV | mass_error_keV | m_dev_keV
0 | 75.9345 | Rb76:-1e | shape & mass calibrant | 76 | 1 | 75.9345 | 1.006e-06 | FALSE | emg22 | MLE | 0.63 | 14298.14 | 119.76 | 75.9345 | 1.0074e-08 | 1.6644e-08 |  |  | -60479.088 |  | 0
1 | 75.9412 | Sr76:-1e | - | 76 | 1 | 75.9412 | 3.7e-05 | FALSE | emg22 | MLE | 0.63 | 2117.04 | 46.81 | 75.9412 | 2.6179e-08 | 1.6644e-08 | 7.4002e-09 | 3.1892e-08 | -54252.509 | 2.256 | -4.864
2 | 75.9463 | Rb85:-1e | Used as TDC calibrant | 85 | 1 | 84.9112 | 5.34e-09 | FALSE | emg22 | MLE | 0.63 | 11023.74 | 106.28 | 75.9463 | 1.1472e-08 | 1.6644e-08 | 8.1694e-09 | 2.1802e-08 | -8432934.321 | 1.542 | -8350766.982
3 | 75.9974 | Rb87:-1e | - | 87 | 1 | 86.9086 | 6e-09 | FALSE | emg22 | MLE | 0.63 | 4312.59 | 66.35 | 75.9974 | 1.8329e-08 | 1.6644e-08 | 4.8744e-09 | 2.5233e-08 | -10248314.54 | 1.786 | -10163716.74

## PS errors from +-1 sigma var.
Peak index | Parameter | Value [u]
1 | sigma eff. mass shift | -1.2708e-07
| theta eff. mass shift | 2.7405e-07
| eta_m1 eff. mass shift | 1.1085e-07
| tau_m1 eff. mass shift | 3.148e-07
| tau_m2 eff. mass shift | 1.5171e-08
| eta_p1 eff. mass shift | 1.9306e-07
| tau_p1 eff. mass shift | 2.6263e-07
| tau_p2 eff. mass shift | -8.1867e-08
2 | sigma eff. mass shift | 6.2524e-08
| theta eff. mass shift | 2.7485e-07
| eta_m1 eff. mass shift | 6.6505e-08
| tau_m1 eff. mass shift | 2.8161e-07
| tau_m2 eff. mass shift | 1.475e-08
| eta_p1 eff. mass shift | 2.0991e-07
| tau_p1 eff. mass shift | 4.2035e-07
| tau_p2 eff. mass shift | -2.7985e-08
3 | sigma eff. mass shift | -1.5925e-07
| theta eff. mass shift | -1.2583e-07
| eta_m1 eff. mass shift | -7.8665e-08
| tau_m1 eff. mass shift | 1.5736e-07
| tau_m2 eff. mass shift | 2.4725e-08
| eta_p1 eff. mass shift | 7.7496e-08
| tau_p1 eff. mass shift | 2.4136e-07
| tau_p2 eff. mass shift | -1.4675e-08